化材系FE-SEM委託操作、自行操作申請表

        申請日期： 年　　月　　日
儀器名稱			□FE-SEM / □EDS
申請人					申請人系級（單位）
指導教授（單位主管）					申請人TEL：
					申請人Email：
申請事項			□操作訓練 / □委託操作 / □自行操作		操作者姓名： / [取得執照始能自行操作]
預約日期： 預約時段： □早上時段9：00 ~ 12:00 / □下午時段14：00 ~ 17:00
＜注意事項＞ / 樣品請自行製作，操作人員不負責試片製備。試片大小之長、寬、高不超過0.3cm。 / 為減少儀器不必要的污染，本機台對於檢驗樣品的限制如下： / a.待測樣品應該具有適當、足夠的機械強度，以避免在進出電鏡、或在檢測的操作過程中，發生剝落、碎裂的狀況。 / b.低熔點的材料如:銦,錫等,會產生相變及蒸鍍效應，請勿使用。 / c.在電子束照射下會分解或釋出氣體之樣品，如有機物、高分子等，會影響真空、造成污染，請勿使用。 / d.具強磁性、磁性或易被電磁透鏡吸引的粉末型式樣品或材料，請勿使用。 / e.未經正確處理或充分乾燥的粉末樣品，請勿使用。 / 樣品特性，務必誠實申報。如果發現申報不實造成儀器污染或損壞時，所隸屬單位或指導教授須負責賠償並暫停儀器之使用權。 / 所有檢測結果數據，不得用於商業廣告、法律訴訟等其他用途，違反者將依法追溯。若因委託人之不當使用檢測報告致本系名譽受損，本系將依法要求損害賠償。
樣品名稱	數量	狀態		性質（請在□內打）			樣品處理
		□固 體 / □粉 末		□穩 定 □揮 發 性 / □磁 性 □毒 性			□真空鍍金
		□固 體 / □粉 末		□穩 定 □揮 發 性 / □磁 性 □毒 性			□真空鍍金
簡述材料構造與欲觀察之內容：
本人保證所委託之試片在電子束作用前後均不具揮發性、污染性、水份及磁性等會影響儀器操作之因素，若因試片因素而造成儀器損壞，願負賠償之責。 / 指導教授(主管)簽章：

FE-SEM Application Form (Dept. of Chemical and Materials Engineering. Tunghai Univ.)

        Application Date (YYYY/MM/DD): ____________________
Instrument / （Please check within□）			□ FE-SEM / □ EDS
Applicant Name					Applicant Dept（Unit）
Advisor(or Supervisor) Name					Applicant TEL：
					Applicant Email：
Operation Mode			□under training / □by operator / □by myself		Instrument Operator Name：
Reservation Date： Session： □morning 9：00 ~ 12:00 / □afternoon session 14：00 ~ 17:00
＜Attentions＞ / Prepare the samples yourself. Notice that the length, width, height of each sample should not exceed 0.3cm. / To avoid instrument contamination, limitations of samples are listed as below： / a. All samples should have adequate and sufficient mechanical strength to avoid chipping during the entry and exit of the electron microscope. / b. Do not use low melting point materials such as indium, tin, etc., it will cause phase change and evaporation effects. / c. Do not use samples that will decompose or release gases under electron beam irradiation, such as organic matter, polymers, etc. It may affect the vacuum stability. / d. Do not use powder type samples or materials that are magnetic or easily attracted by microscope lenses. / e. Do not use samples that have not been properly or totally dried. / Sample characteristics must be reported honestly. If the report is found to be fake or contaminated or damaged, the affiliated unit or advisor shall be responsible for compensation and suspension of the use of the instrument. / All test result data as well as figures shall not be used for commercial advertisements, legal proceedings and other purposes. If the reputation of our department is damaged due to the improper use of the test report by the client, our department will claim damages according to law.
Sample Name	Quantity	Status		Sample Characteristic / （Please check within□）			Sample Processing
		□solid substance / □ powder		□stable □volatile / □magnetic □toxic			□vacuum coating
		□solid substance / □ powder		□stable □volatile / □magnetic □toxic			□vacuum coating
Brief Description of Material Needed To Be Observed：
I hereby guarantee that all samples will not be volatile, polluting, moisture and magnetic. If the instrument is damaged due to the sample factor, I am willing to take the responsibility for compensation. / Advisor(or Supervisor) Signature：